Microbial identification via MALDI-TOF

Code: EGTP-IMT

Taper: Analysis

Prix: 2500 - 4000 DZD

Description:

Service Overview

Rapid and reliable identification of bacteria, yeasts, and filamentous fungi using MALDI-TOF mass spectrometry (protein fingerprint profiling) on the MALDI Biotyper platform.
Microorganisms are identified by comparing their protein mass spectra to validated reference databases.

Results are reported at the species level when confidence score thresholds are met. If thresholds are not reached, identification is reported at the genus level or classified as “no reliable identification.”

Sample Requirements (Critical)

- Pure, fresh cultures in the exponential growth phase, grown on an appropriate solid agar medium (2% agar, 20 g/L).

- Well-isolated colonies are required (e.g., TSA, Sabouraud, or equivalent, depending on the microorganism).

- Cultures must be delivered within 24 hours after incubation, maintained at 4–8 °C during transport.

For each isolate, the requester must provide:

- Internal sample code

- Microorganism type (bacterium / yeast / mould)

- Source of isolation (environmental, food, clinical, etc.)

- Date of isolation

- Culture medium

- Culture conditions (temperature, respiratory type, incubation time)

- Any relevant remarks

The requester must indicate whether fresh cultures can be supplied. If unavailable, purification and subculturing may be performed by PLAGENOR, subject to additional charges.

🔴 Important: Without fresh, pure cultures, reliable identification cannot be guaranteed.

Pathogenic or Clinical Isolates

For pathogenic or clinical isolates, submission of a biological risk declaration specifying the biosafety level (e.g., BSL-2 or BSL-3) is mandatory.

- Single-use disposable MALDI target plates are compulsory for these samples.

- Additional costs apply for disposable targets and enhanced biosafety handling.

- Any undeclared biological risk will result in automatic rejection of the request.

Workflow & Deliverables

- Direct spotting of colonies on MALDI target plates

- On-target formic acid extraction when required

- Matrix application and MALDI-TOF spectral acquisition

- Automated database matching and expert quality review

Deliverables include:

- A PDF report for each isolate containing:

  - Identified organism name

  - Confidence score

  - Interpretation notes (limitations, need for retesting, or recommendations)

Turnaround & Pricing Notes

- Routine isolates are processed promptly upon receipt.

- Difficult isolates may require additional extraction steps or repeat measurements.

Indicative pricing (per isolate):

Standard (non-pathogenic) cultures

- Simple analysis: 2,500 DZD

- Duplicate: 4,500 DZD

- Triplicate: 6,500 DZD

Pathogenic / clinical isolates

- Simple analysis: 4,000 DZD

- Duplicate: 7,000 DZD

- Triplicate: 10,000 DZD

Final cost depends on sample type, analysis mode (simple/duplicate/triplicate), and any additional processing required.

Limitations

- Mixed cultures, aged colonies, low biomass, or unsuitable growth media may result in low confidence scores or failed identification.

- Rare or poorly represented taxa in reference databases may only be identified at the genus level.

- Resubmission may be recommended in such cases.

How to Order

Complete and submit the EGTP-IMT request form with all required requester information and isolate metadata, and sign the ethical responsibility declaration included in the form.