PCR (Polymerase Chain Reaction)

Code: EGTP-PCR

Taper: Analysis

Prix: 1500 DZD

Description:

Service overview

The Polymerase Chain Reaction (PCR) is a molecular biology technique used to amplify specific DNA sequences, enabling their visualization, quantification, or use in downstream applications such as sequencing or cloning. The service involves targeted amplification using user-specified or validated primers on a high-precision thermal cycler to ensure specificity and reproducibility.

Sample requirements (critical)

To ensure reliable results, please provide the following for each reaction:

- ≥10 µL of template DNA (concentration 50–300 ng/µL)

- 5 µL of each primer (Forward and Reverse, 10 µM working concentration)

- Metadata for each sample:

  - Internal code

  - DNA origin and type (plasmidic, chromosomal, etc.)

  - Extraction method

  - Target gene and expected amplicon size

  - Primer sequences (5’–3’) and melting temperature (Tm)

  - Any relevant remarks (e.g., inhibitors, GC-rich template)

PCR

Workflow & deliverables

- Reaction setup using supplied or validated primers.

- Amplification using an optimized PCR program on a gradient thermal cycler.

- Verification of amplification by agarose gel electrophoresis (with size marker of choice).

- Deliverables:

  - Gel image confirming product presence and size.

  - Optional recovery of PCR product in specified volume.

Turnaround & pricing notes

- Turnaround: up to 10 working days after sample receipt.

- Pricing: 1,500 DZD per reaction.

  - Price may vary with choice of PCR kit, quality control technique, or product recovery volume (as indicated in the request form).

Limitations

- Low-quality or contaminated DNA may result in weak or failed amplification.

- Primers with mismatches, hairpins, or high GC content may require redesign or gradient optimization.

How to order

Submit the EGTP-PCR request form with all required sample and project information.
Ensure that DNA and primers are supplied according to the stated volumes and concentrations, and sign the ethical responsibility declaration confirming compliance with applicable biosafety and ethical regulations